## Sheet1
Supplemental Table S5. Minimum information for publication of quantitative real-time PCR experiments (MIQE) for 16S and 18S rRNA gene qPCR.
Experimental design |  | 16S/Bactquant Assay | 18S/FungiQuant Assay
Definition of experimental and control groups | E | Experimental samples defined as environmental DNA. Controls defined as negative/no template controls | Experimental samples defined as environmental DNA. Controls defined as negative/no template controls | E | Essential/Required
Number within each group | E | 3 technical replicates per group | 3 technical replicates per group | D | Desirable
Assay carried out by the core or investigator’s laboratory? | D | Investigator's laboratory | Investigator's laboratory
Acknowledgment of authors’ contributions | D | Author HSN carried out qPCR, BWS, HSN, KWB, KJT, EMT, ARW extracted nucleic acid | Author HSN carried out qPCR, BWS, HSN, KWB, KJT, EMT, ARW extracted nucleic acid
Sample
Description | E | Water from Mono Lake, California. Filtered onto 0.22 µm PES 25 mm filters. | Water from Mono Lake, California. Filtered onto 0.22 µm PES 25 mm filters.
Volume/mass of sample processed | D | Up to 15 mL per sample | Up to 15 mL per sample
Microdissection or macrodissection | E | N/A, environmental material | N/A, environmental material
Processing procedure | E | Zymo DNA/RNA shield, homogenized on site to preserve sample | Zymo DNA/RNA shield, homogenized on site to preserve sample
If frozen, how and how quickly? | E | Frozen after preservation at -20 C. | Frozen after preservation at -20 C.
If fixed, with what and how quickly? | E | Preserved with Zymo DNA/RNA shield on-site prior to extraction | Preserved with Zymo DNA/RNA shield on-site prior to extraction
Sample storage conditions and duration (especially for FFPE2samples) | E | Stored at -20 until extraction | Stored at -20 until extraction
Nucleic acid extraction
Procedure and/or instrumentation | E | Kit DNA extraction | Kit DNA extraction
Name of kit and details of any modifications | E | Zymo Xpedition Soil/Fecal DNA Mini | Zymo Xpedition Soil/Fecal DNA Mini
Source of additional reagents used | D | N/A | N/A
Details of DNase or RNase treatment | E | No DNAse/RNAse treatment performed | No DNAse/RNAse treatment performed
Contamination assessment (DNA or RNA) | E | No template DNA control | No template DNA control
Nucleic acid quantification | E | Yes | Yes
Instrument and method | E | QuBit broad range | QuBit broad range
Purity (A260/A280) | D | Not calculated | Not calculated
Yield | D | N/A | N/A
RNA integrity: method/instrument | E | N/A | N/A
RIN/RQI or Cq of 3′ and 5′ transcripts | E | N/A | N/A
Electrophoresis traces | D | N/A | N/A
Inhibition testing (Cqdilutions, spike, or other) | E | None | None
Reverse transcription
Complete reaction conditions | E | N/A | N/A
Amount of RNA and reaction volume | E | N/A | N/A
Priming oligonucleotide (if using GSP) and concentration | E | N/A | N/A
Reverse transcriptase and concentration | E | N/A | N/A
Temperature and time | E | N/A | N/A
Manufacturer of reagents and catalogue numbers | D | N/A | N/A
Cqs with and without reverse transcription | D3 | N/A | N/A
Storage conditions of cDNA | D | N/A | N/A
qPCR target information
Gene symbol | E | 16S | 18S
Sequence accession number | E | None known, see https://doi.org/10.1186/1471-2180-12-56 | None known, see https://doi.org/10.1186/1471-2180-12-255
Location of amplicon | D | 16S rRNA gene, E. coli region 341-806 | 18S rRNA Gene, S. cerevisiae region 1199- 1549
Amplicon length | E | 465 | 351
In silico specificity screen (BLAST, and so on) | E | see https://doi.org/10.1186/1471-2180-12-56 | see https://doi.org/10.1186/1471-2180-12-255
Pseudogenes, retropseudogenes, or other homologs? | D | N/A | N/A
Sequence alignment | D | see https://doi.org/10.1186/1471-2180-12-56 | see https://doi.org/10.1186/1471-2180-12-255
Secondary structure analysis of amplicon | D | N/A | N/A
Location of each primer by exon or intron (if applicable) | E | N/A | N/A
What splice variants are targeted? | E | None | None
qPCR oligonucleotides
Primer sequences | E | F: 5′- CCT ACG GGD GGC WGC A-3′, R: 5′- GGA CTA CHV GGG TMT CTA ATC -3′ | F: 5′-GGR AAA CTC ACC AGG TCC AG-3′, R: 5′-GSW CTA TCC CCA KCA CGA-3′
RTPrimerDB identification number | D | N/A | N/A
Probe sequences | D4 | 5′-CAG CAG CCG CGG TA-3′ | 5′-TGG TGC ATG GCC GTT-3′
Location and identity of any modifications | E | 5' 6FAM, 3' MGBNFQ | 5' 6FAM, 3' MGBNFQ
Manufacturer of oligonucleotides | D | Thermo Fisher | Thermo Fisher
Purification method | D | HPLC | HPLC
qPCR protocol
Complete reaction conditions | E | 10 µL reaction volume, set up in triplicate technical replicates for each sample. Standards run in technical duplicate. | 10 µL reaction volume, set up in triplicate technical replicates for each sample. Standards run in technical duplicate.
Reaction volume and amount of cDNA/DNA | E | 10 µL total reaction volume, 1 µL template | 10 µL total reaction volume, 1 µL template
Primer, (probe), Mg2+, and dNTP concentrations | E | 400 µM dA/dG/dCTP, 800 µM dUTP, 6 mM Mg2+ at 2X stock concentration. 225 nM probe, 1.8 µM primer final concentrations. | 400 µM dA/dG/dCTP, 800 µM dUTP, 6 mM Mg2+ at 2X stock concentration. 225 nM probe, 1.8 µM primer final concentrations.
Polymerase identity and concentration | E | Platinum™ Quantitative PCR SuperMix-UDG w/ROX | Platinum™ Quantitative PCR SuperMix-UDG w/ROX
Buffer/kit identity and manufacturer | E | Platinum™ Quantitative PCR SuperMix-UDG w/ROX | Platinum™ Quantitative PCR SuperMix-UDG w/ROX
Exact chemical composition of the buffer | D | Tris-HCl/KCl | Tris-HCl/KCl
Additives (SYBR Green I, DMSO, and so forth) | E | ROX | ROX
Manufacturer of plates/tubes and catalog number | D | Applied Biosystems 4323032 | Applied Biosystems 4323032
Complete thermocycling parameters | E | From reference: 3 min at 50°C for UNG treatment, 10 min at 95°C for Taq activation, 15 s at 95°C for denaturation and 1 min at 60°C for annealing and extension x 40 cycles. | From reference: 3 min at 50°C for UNG treatment, 10 min at 95°C for Taq activation, 15 s at 95°C for denaturation and 1 min at 60°C for annealing and extension x 40 cycles.
Reaction setup (manual/robotic) | D | Manual | Manual
Manufacturer of qPCR instrument | E | Applied Biosystems | Applied Biosystems
qPCR validation
Evidence of optimization (from gradients) | D | Followed protocol using identical reagents from reference where optimization occoured. | Followed protocol using identical reagents from reference where optimization occoured.
Specificity (gel, sequence, melt, or digest) | E | Specificity determined in silico within referenced manuscript | Specificity determined in silico within referenced manuscript
For SYBR Green I, Cqof the NTC | E | N/A | N/A
Calibration curves with slope and yintercept | E | Slope = -4.654, y = 7.076 | Slope = -4.357, y = 8.39
PCR efficiency calculated from slope | E | 64.016 | 69.635
CIs for PCR efficiency or SE | D | CI determined from average of triplicate experimental reactions | CI determined from average of triplicate experimental reactions
r2 of calibration curve | E | 0.996 | 0.962
Linear dynamic range | E | N/A | N/A
Cq variation at LOD | E | 0.493 | Undetermined (Beyond 40 cycles)
CIs throughout range | D | N/A | N/A
Evidence for LOD | E | NTC Cq | NTC Cq
If multiplex, efficiency and LOD of each assay | E | N/A | N/A
Data analysis
qPCR analysis program (source, version) | E | StepOne™ Software | StepOne™ Software
Method of Cqdetermination | E | Standard curve of known quantities | Standard curve of known quantities
Outlier identification and disposition | E | No outliers were removed or identified | No outliers were removed or identified
Results for NTCs | E | Cт Mean 34.72771835 - 34.02954865 | Cт Mean 34.72771835 - 34.02954865
Justification of number and choice of reference genes | E | Even amplification of known bacteria/archaea in the SILVA database | Even amplification of known fungi in the SILVA database
Description of normalization method | E | 16S rRNA gene, no normalization to other gene | 18S rRNA gene, no normalization to other gene
Number and concordance of biological replicates | D | 3 per sample group | 3 per sample group
Number and stage (reverse transcription or qPCR) of technical replicates | E | qPCR triplicate technical replicates | qPCR triplicate technical replicates
Repeatability (intraassay variation) | E | Single assay run | Single assay run
Reproducibility (interassay variation, CV) | D | N/A | N/A
Power analysis | D | N/A | N/A
Statistical methods for results significance | E | N/A | N/A
Software (source, version) | E | StepOne™ Software | StepOne™ Software
Cq or raw data submission with RDML | D | N/A | N/A